## Sheet1
S.No | Sub-Division | Date Of Defect | Old_Meter_Number | Meter type | Defective stage | Old_Meter_MI_Date | MIS ( IC) nos. of Month | Old_Meter_Type | Meter_Make | New_Meter_Number | Defect Trigger | Symptoms of the problem New | Date of Replacement | Field Observation | Fault Responsible | Sent to Kimbal | In Case Repaire at Site- Fill Details of Repaire | Field Person visit Observation Report | Date of Defective Meter Sent To KIMBAL | Currier Details for Tracking Purpose | Replacement Status | Date of Defective Meter Replacement | Old_Meter_Last_Communication_date | Receipt at KIMBAL ( material and Detail file) | Initial Observation at KIMBAL | Root Cause Analysis Details from Kimbal | Correction by KIMBAL | Corrective Action | CAPA No. | Status Of CAPA | Replacment Status
13643 | Basugaon | 2024-11-02 | SC10222714 | Intelli | Post- installation | 2023-11-04 | 12.1 | LTCT DT | Kimbal | SC10228262 | Display Related Issue | Display Defective | 2024-11-02 | Display is not working | OEM | Yet to be sent |  | Display is not working | [5 empty] | Not Received | - | - | - | - | - | Waiting for defective meters | Not received
13644 | Lakhipur_bec | 2025-06-16 | SC10226881 | Intelli | Post- installation | 2024-05-19 | 13.1 | LTCT DT | Kimbal | SC10231275 | Meter Burnt | Meter Burnt (Internally) | 2025-06-16 | Meter is internally Burnt | OEM | Yet to be sent |  | Meter is internally burnt | [5 empty] | Not Received | - | - | - | increase the size of PVC sheet used below 35KV shield size. | APDCL005 | Closed | Not received
13647 | Abhayapuri | 2025-06-25 | SC10222115 | Intelli | Post- installation | 2024-01-31 | 17 | LTCT DT | Kimbal | SC10224569 | Meter Burnt | Meter Burnt (Internally) | 2025-06-25 | Meter is internally Burnt | OEM | Yet to be sent |  | Meter is internally burnt | [5 empty] | Not Received | - | - | - | increase the size of PVC sheet used below 35KV shield size. | APDCL005 | Closed | Not received